## Calculator
Wind Shear Calculator
Made for Wind Harvest International
Here is the wind shear formula: http://www.engineeringtoolbox.com/wind-shear-d_1215.html
Equation | (anemometer wind speed) * [(VAWT "hub" height)/(anemometer height)]^(roughness factor)
Calculator | #1 |  |  | Calculator | #2
7 | Wind speed at anemometer height (m/s) |  |  | 7.5 | Wind speed at anemometer height (m/s)
20 | Anemometer height above ground level (m) |  |  | 80 | Anemometer height above ground level (m)
11 | VAWT center of rotor (hub) height above ground level (m) |  |  | 11 | VAWT center of rotor (hub) height above ground level (m)
| Roughness factor | Wind speed at anemometer ht | Wind Speed at VAWT hub ht |  | Roughness factor | Wind speed at anemometer ht | Wind Speed at VAWT hub ht
| 0 | 7 | 7 |  | 0 | 7.5 | 7.5
| 0.05 | 7 | 6.7939 |  | 0.05 | 7.5 | 6.7917
| 0.1 | 7 | 6.5938 |  | 0.1 | 7.5 | 6.1502
| 0.15 | 7 | 6.3996 |  | 0.15 | 7.5 | 5.5694
| 0.2 | 7 | 6.2111 |  | 0.2 | 7.5 | 5.0434

## Roughness Values
Examples of Roughness Values
Source: | http://www.engineeringtoolbox.com/wind-shear-d_1215.html
Roughness | Terrain Description
-0.05 | Accounting for upstream roughness and negative wind shear
0 | Accounting for low upwind roughness and no wind shear
0.05 | Accounting for low upwind roughness and low wind shear
0.1 | Open water upwind
0.15 | Smooth, level, grass-covered
0.2 | Taller row crops - e.g. corn, sugar cane
0.2 | Low bushes with a few trees
0.25 | Heavy trees
0.25 | Several buildings
0.25 | Hilly, mountainous terrain and turbines are not on the top of a hill or ridgeline
Note: | The speed-up effect can be approximated by decreasing the roughness factor
Speed-up effect is the most relevant for long smooth regions leading to a slope
Speed-up effect will result in a more complex flow profile than a simple roughness calculation
Speed-up effect is stronger the higher the ridgeline or hill is above the ground because more wind vectors will accumulate at the top of the hill.
The exact relationship is unknownso a range of roughness factors should be used to evaluate the wind shear at a site.